## Total_overview
COST ESTIMATION TOTAL OVERVIEW
General input |  |  | total |  |  |  | Conversion to Dollars |  |  | 1
Amount of inhabitants |  |  | 225 |  |  |  | For 1 the calculation is in euros
Gross floor area |  | m² | 39576
Residential space | 75% | m² | 28182
Office space | 25% | m² | 9394
Hotel |  | m² | 2000
Vacant space (pentagon addition) | GFA | m² | 15076
Total amount of platforms |  |  | 11
Development costs | per unit |  | total
Platform costs | 3242495.002 | costs | 38909940.024
Mooring system | 37500 | costs / platform | 3300000
Connections between islands | 70000 | costs | 770000
Bridges between islands | 330000 | costs | 3630000
Real estate | 1000 | costs/m² gross | 39576000
Water and energy |  |  | 2433192.5802
TOTAL COSTS ex |  |  | 88619132.6042
Total + development costs (fees, financing etc.) | 25% |  | 110773915.7552
Tax (Honduras)¹ | 12% |  | 124066785.6458
General
Average costs per platform |  |  | 11278798.6951
Costs GFA |  | /m² | 3134.8996
Costs GFA |  | /ft² | 291.2393
Costs GFA without energy and watersystem |  | /ft² | 282.0128
Costs UFA |  | /m² | 4019.102
Costs UFA |  | /ft² | 373.3837
Costs UFA without energy and watersystem |  | /ft² | 364.1572
Systems |  |  | high
Energy - micro grid |  | costs | 2017942.5802
Energy - generator |  | costs | 1499054.8917
Water |  | costs | 415250
Total costs |  | costs | 2433192.5802
GFA = gross floor area
UFA = usable floor area
Background calculations
Floating platform cost estimate
Sewerage, drainage, cables and wires
sewer/drainage pipes | 100 | m¹ | 375 |  | 37500
cables and wires | 2500 | m² | 0.75 |  | 1875
sidewalks top layers | 250 | m² | 30 |  | 7500
additional floor | 780 | m² | 35 |  | 27300
TOTAL SEWERAGE |  |  |  |  | 74175
Basement structure
ground floor (hollow-core) | 735 | m³ | 50 |  | 36750
basement floor ² | 1210 | m³ | 1400 |  | 1694000
outer walls | 348.74 | m³ | 1400 |  | 488236
inner walls | 364.392 | m³ | 1400 |  | 510148.8
TOTAL BASEMENT |  |  |  |  | 2729134.8
TOTAL PLATFORM |  |  |  |  | 2803309.8
Pentagon platforms | 4821692.856 |  | 4 |  | 19286771.424
Square platfroms | 2803309.8 |  | 7 |  | 19623168.6
|  |  | 3242495.002 |  | 38909940.024
Maritime constructions
mooring system | 37500 | /piece | 8 |  | 3300000
connections between islands | 70000 |  |  |  | 770000
bridges between islands | 2000 | costs/m² | 3 | 5 | 330000
TOTAL MARITIME CONSTRUCTIONS |  |  |  |  | 4400000
Systems
Energy low scenario |  |  | Demand
Micro grid⁴ one time price for the system | 0.71187 | €/kWh | 996942.5 | kWh | 709695.4113
| 0.33 | l/kWh | 64000 | kWh | 17991.1111
Annual costs (price based on 2012³) | 0.85185 | €/litre
TOTAL SUSTAINABLE LOW SCENARIO |  |  |  |  | 727686.5225
Diesel generator³
| 32000 |  | 8 | units | 256000
Annual costs | 0.33 | l/kWh | 1060942.5 | kWh | 298242.725
Price based on 2012³ | 0.85185 | €/litre
TOTAL CONVENTIONAL LOW SCENARIO |  |  |  |  | 554242.725
Energy high scenario |  |  | Demand
Micro grid⁴ on time price for the system | 0.71187 | €/kWh | 2764614.5 | kWh | 1968051.5424
| 0.33 | l/kWh | 177478 | kWh | 49891.0378
Annual costs (price based on 2012³) | 0.85185 | €/litre
TOTAL SUSTAINABLE HIGH SCENARIO |  |  |  |  | 2017942.5802
Diesel generator³
| 32000 |  | 21 | units | 672000
Annual costs | 0.33 | l/kWh | 2942092.5 | kWh | 827054.8917
Price based on 2012³ | 0.85185 | €/litre
TOTAL CONVENTIONAL HIGH SCENARIO |  |  |  |  | 1499054.8917
Structure caisson
outer dimension, based on square shape | 50 | m
outer wall thickness | 0.5 | m
basement floor thickness | 0.5 | m
ground floor thickness | 0.3 | m
basement wall thickness | 0.3 | m
inner width | 24.2 | m
inner lenght | 49 | m
platform height | 5 | m
inner height | 4.2 | m
caisson volume | 2658.132 | m³ |  | (1) http://www.doingbusiness.org/data/exploreeconomies/honduras/paying-taxes/
2,4 - 2,5 kg /m³ | 6512.4234 | ton |  | (2)http://www.gwwmaterialen.nl/soortelijk-gewicht-materialen/
721 kg per m2 | 1766.45 | ton |  | Calculation concrete costs
reference Monaco: €100M/175.000 = €571/ton
Housing depth | 0.70658 |  |  | m³ concrete weight 2,45 = 1400
Platform depth | 2.605 |  |  | range: 700 - 2100 per m³
Total depth | 3.3115 |  |  | (3) http://knoema.com/atlas/Honduras/Pump-price-for-diesel-fuel-USdollar-per-liter, 2012
Freeboard | 1.6885 |  |  | Generators 0,28 - 0,4 litre per kWh |  |  | http://www.alibaba.com/product-gs/753404876/2013_440KW_Diesel_Generators_Prices_C440GF.html
|  |  |  | 400 kw : 40k - 47k pp |  | Daily use | 2906.6918 | 8060.5274 | kWh | 32000 | # needed | 7.2667 | 20.1513
(4) based on data from phono solar, the price of a micro grid per kWh for a solar system with a diesel engine backup is 0,71187 per kWh for the first year
0.71187
This price per kW/h for the solar system is higher than the average price on the main land, and the conventional energy scenario due to the independent micro grid system, which is a one-time installation (based on an actual installation in the Maldives). The useful life of solar equipment ranges from 7-10 years for batteries and 25 years for panels themselves. Therefore, the actual cost per kw/h would be much lower in the micro-grid scenario.

## Real Estate
Real Estate
Platform size | Length |  | Width
| 50 | m | 50 | m | 2500 | m2
Distribution of ground space
Platform |  |  |  | 100% | 2500 | m2
Sidewalks |  |  |  | 10% | 250 | m2
Green |  |  |  | 10% | 250 | m2
Issuable Ground |  |  |  | 80% | 2000 | m2
Built-up Area* |  |  |  | 50% | 1000 | m2
Floor space
Built-up Area |  |  |  |  | 1000 | m2
Amount of floors |  |  |  |  | 3 | floors
Total Gross Floor Area (GFA) |  |  |  |  | 3000 | m2
Gross - Usable ratio |  |  |  |  | 0.78
Total Usable Floor Area (UFA) |  |  |  |  | 2340 | m2
Average floor area per person (GFA)
Residential |  |  |  |  | 75 | m2
Office |  |  |  |  | 25 | m2
Total |  |  |  |  | 100 | m2
Hotel
Floor space per person |  |  |  |  | 40 | m2
Amount of people |  |  |  |  | 50 | people
Hotel size (on 1 platform) |  |  |  |  | 2000 | m2
Amount of floors |  |  |  |  | 2 | floors
Roof space per person
People per platform |  |  |  |  | 30 | people
Total roof space |  |  |  |  | 1000 | m2
Platform space per person |  |  |  |  | 83.3333 | m2
Platform space per person (hotel) |  |  |  |  | 50 | m2
Totals based on inhabitants
Total amount of inhabitants |  |  |  |  | 225 | people
Total amount of people |  |  |  |  | 275
Residential platforms |  |  |  |  | 8
Office platforms |  |  |  |  | 2
Hotel |  |  |  |  | 1
Total amount of platforms |  |  |  |  | 11 | platforms
Rooms in hotel |  |  |  |  | 30
People / household |  |  |  |  | 2
Distribution of ground space pentagon
Platform |  |  |  | 100% | 4300 | m2
10% less efficient |  |  |  | 10% | 3870 | m2
Sidewalks |  |  |  | 10% | 387 | m2
Green |  |  |  | 10% | 387 | m2
Issuable Ground |  |  |  | 80% | 3096 | m2
Built-up Area* |  |  |  | 50% | 1548 | m2
Floor space
Built-up Area |  |  |  |  | 1548 | m2
Amount of floors |  |  |  |  | 3 | floors
Total Gross Floor Area (GFA) |  |  |  |  | 4644 | m2
Gross - Usable ratio |  |  |  |  | 0.78
Total Usable Floor Area (UFA) |  |  |  |  | 3622.32 | m2
Ground floor
2nd floor
3rd floor
Built-up Area
Issuable Ground
Platform

## Feasibility
Survey¹ | USD/ft² | distribution | m² UFA | m²--> ft² | totals
240 | 550 | 60% | 13189.176 | 141968.2905 | 78082559.7552
100 | 750 | 25% | 5495.49 | 59153.4544 | 44365090.77
40 | 950 | 10% | 2198.196 | 23661.3817 | 22478312.6568
20 | 1050 | 5% | 1099.098 | 11830.6909 | 12422225.4156
400 |  |  |  | 236613.8174 | 157348188.5976 | for residential space
|  |  |  | $ | 665 | average willingness to pay per ft² UFA based on TSI survey
|  |  |  | € | 373.3837 | costs per ft² UFA
[5 empty] | 291.6163 | difference
(1) based on research from TSI
UFA = usable floor space

## Energy Demand
Energy Demand
RESIDENTIAL | Low[1] | High[2] |  | Share[3] | EXAMPLE SOLAR PANELS |  |  | HONDURAS | Low | High | Honduras per person | Low | High | Total
Space heating | 200.4 | 752.1 |  | 6% |  |  |  | Per household |  |  | Residential |  |  | low | high
Space cooling | 634.6 | 2381.65 |  | 19% | Brand | Phono Solar |  | Solar panels needed | 5 | 19 | Solar panels needed | 3 | 10 | 675 | 2250
Lighting | 434.2 | 1629.55 |  | 13% | Type | Diamond Series Mono |  | Surface needed (m2) | 9.031 | 34.3178 | Surface needed (m2) | 5.4186 | 18.062 | 1219.1836 | 4063.9455
Water heating | 300.6 | 1128.15 |  | 9% | Model | PS300M-24/T
Refrigeration | 267.2 | 1002.8 |  | 8% | W peak | 300 | W | Per 100 m2 office space |  |  | Office
Television | 233.8 | 877.45 |  | 7% | Module efficiency | 17% |  | Solar panels needed | 12 | 29 | Solar panels needed | 3 | 8 | 675 | 1800
Cooking | 66.8 | 250.7 |  | 2% | Surface per panel | 1.8062 | m2 | Surface needed (m2) | 21.6744 | 52.3797 | Surface needed (m2) | 5.4186 | 14.4496 | 1219.1836 | 3251.1564
Other* | 1202.4 | 4512.6 |  | 36% | Daily local insolation[8]
[5 empty] | Honduras | 6 | kWh/m2 | Per hotel room |  |  | Hotel
Total | 3340 | 12535 | kWh/household/year |  | Colombia | 5.5 | kWh/m2 | Solar panels needed | 13 | 24 | Solar panels needed | 9 | 16 | 450 | 800
[5 empty] | Average sunshine |  |  | Surface needed (m2) | 23.4806 | 43.3488 | Surface needed (m2) | 16.2558 | 28.8992 | 812.7891 | 1444.9584
[5 empty] | Honduras | 250 | W/m2
OFFICES | Low[4] | High[5] |  | Share[3] | Colombia | 229.1667 | W/m2 | day
Space heating | 3.6528 | 9.072 |  | 4.8% | = variable |  |  | COLOMBIA | Low | High | Colombia per person | Low | High
Space cooling | 10.8062 | 26.838 |  | 14.2% | * washing machine, dishwasher, freezer, PC's, etc. |  |  | Per household |  |  | Residential
Ventilation | 6.5446 | 16.254 |  | 8.6% |  |  |  | Solar panels needed | 6 | 21 | Solar panels needed | 3 | 9
Lighting | 29.679 | 73.71 |  | 39% | TOTALS | Low | High | Surface needed (m2) | 10.8372 | 37.9302 | Surface needed (m2) | 5.4186 | 16.2558
Water heating | 0.761 | 1.89 |  | 1% | Use in households | 375750 | 1410187.5
Refrigeration | 3.6528 | 9.072 |  | 4.8% | Use in offices | 428062.5 | 1063125 | Per 100 m2 office space |  |  | Office
Office equipment | 3.2723 | 8.127 |  | 4.3% | Use in hotel | 257130 | 468780 | Solar panels needed | 13 | 31 | Solar panels needed | 4 | 8
Computers | 7.9144 | 19.656 |  | 10.4% |  |  |  | Surface needed (m2) | 23.4806 | 55.9921 | Surface needed (m2) | 7.2248 | 14.4496
Other | 9.8169 | 24.381 |  | 12.9% | Use in city | 1060942.5 | 2942092.5
[5 empty] | Panels needed | 1800 | 4850 | Per household |  |  | Hotel
Total | 76.1 | 189 | kWh/m2/year |  | Surface needed | 3251.1564 | 8760.0603 | Solar panels needed | 14 | 26 | Solar panels needed | 10 | 17
[8 empty] | Surface needed (m2) | 25.2868 | 46.9611 | Surface needed (m2) | 18.062 | 30.7054
HOTEL/LODGING | Low[6] | High[7] |  | Share[3] | Daily use in city | 2906.6918 | 8060.5274
Space heating | 496.8694 | 905.8548 |  | 5.797%
Space cooling | 993.7389 | 1811.7097 |  | 11.59%
Ventilation | 621.0547 | 1132.26 |  | 7.246%
Lighting | 4471.825 | 8152.6936 |  | 52.17%
Water heating | 372.6522 | 679.3913 |  | 4.348%
Refrigeration | 372.6522 | 679.3913 |  | 4.348%
Cooking | 124.1938 | 226.4207 |  | 1.449%
Computers | 248.4347 | 452.9274 |  | 2.899%
Other | 869.5194 | 1585.2421 |  | 10.14%
Total | 8571 | 15626 | kWh/room/year
Background information
Sources:
[1] HOME 2012, ECN, edited from Nibud 2013
[2] Estimated U.S. residential electricity consumption by end-use, EIA, 2011
[3] Commercial buildings energy consumption survey, EIA, 2003
[4] Environmental Barometer NL, 2012
[5] According to EIA 211 billion kWh/year is used by offices in the United States. This is divided by the total area of office space (12 billion sq ft. = 1,114,836,480 m2) as found in N. Miller's paper, 'Estimating Office Space per Worker', 2012.
[6] Vademecum HORECA, BIM, 2009
[7] 2004 Lodging Industry Profile, American Hotel & Lodging Association
[8] http://maps.nrel.gov/SWERA

## Water Demand
Water Demand
The amount of water used for a very sustainable situation and a large use situation.
DOMESTIC | low | high |  |  |  | DOMESTIC OUTPUT | low | high | Totals l/day | Residential | Office | Hotel | Total
Drinking and food | 3.2 | 2.32 |  | 1% |  | Grey water | 86.4 | 141.52 | Input needed
Shower / bathing | 51.4 | 44.08 |  | 19% |  | Black water | 33.7 | 60.32 | Drinking water | 16222.5 | 1968.75 | 6150 | 24341.25
Faucet | 17.5 | 44.08 |  | 19% |  |  |  |  | Grey water | 10800 | 4500 | 2225 | 17525
Leakage |  | 39.44 |  | 17%
Total drinking water | 72.1 | 90.48 | [6 empty] | Output available
Washing machine | 14.3 | 51.04 |  | 22% |  |  |  |  | Grey water | 19440 | 1968.75 | 6775 | 28183.75
Toilet | 33.7 | 60.32 |  | 26% |  |  |  |  | Black water | 7582.5 | 4500 | 1600 | 13682.5
Total grey water | 48 | 111.36
[9 empty] | Totals l/day | Residential | Office | Hotel | Total
Total domestic water use | 120.1 | 232 | / person / day | [5 empty] | Input needed
[9 empty] | Drinking water | 20358 | 5265 | 12850.7463 | 38473.7463
OFFICE | low | high | [6 empty] | Grey water | 25056 | 5535 | 4649.2537 | 35240.2537
Drinking water | 8.75 | 6 |  | 1.9317 |  | OFFICE OUTPUT | low | high
Heating and cooling |  | 17.4 |  | 0.30435 |  | Grey water | 8.75 | 23.4 | Output available
Grey water | 20 | 24.6 |  | 0.69565 |  | Black water | 20 | 24.6 | Grey water | 31842 | 5265 | 14156.7164 | 51263.7164
[9 empty] | Black water | 13572 | 5535 | 3343.2836 | 22450.2836
Office water | 28.75 | 48
[6 empty] | HOTEL OUTPUT | low | high |  | Residential | Office | Hotel
HOTEL WATER | low | high |  |  |  | Grey water | 135.5 | 283.1343 | Water collection
Drinking and food | 7 | 14.6269 |  | 4.179% |  | Black water | 32 | 66.8657 |  | 25355531.25 | 10142212.5 | 3380737.5
Shower / bathing | 100 | 208.9552 |  | 59.7% |  |  |  |  | Need low scenario | 5921212.5 | 718593.75 | 2244750 |  | feasible!
Tap | 16 | 33.4328 |  | 9.552% |  |  |  |  | Need high scenario | 7430670 | 1921725 | 4690522.3881 |  | only hotel not feasible overall feasible
Total drinking water | 123 | 257.0149 |  | 73.43%
Washing machine | 12.5 | 26.1194 |  | 7.463% |  |  |  |  | Monthly need | 493434.375 | 59882.8125 | 187062.5
Toilet | 32 | 66.8657 |  | 19.1% | [5 empty] | 619222.5 | 160143.75 | 390876.8657 |  | for a few months large storing capacity needed
Grey water needed | 44.5 | 92.9851 |  | 26.57% | [5 empty] | 61679.2969 | 7485.3516 | 23382.8125
[10 empty] | 41062.5 | 17109.375 | 8459.6354
Total hotel water use | 167.5 | 350
Background calculations
http://www.infodwi.nl/uploadedFiles/Infodwi/05_-_Voorwaarden_normen_en_uitwerking/WB%202.1%20B%20okt%202011.pdf
Hotels | Amount (litters) |  |  |  | Office |  | distribution
Personal hygiene |  |  |  |  | 6.9 | m3 per fte | 20% | Landscaping
Shower (water saving) | 100 |  |  |  | 6900 | 5 days per week | 1% | Kitchen
Toilet | 32 |  |  |  |  | 48 working weeks/year | 9% | Misc.
Tap | 5 |  |  |  | 28.75 | litter per day | 27% | Cooling/heating
Restaurant | [5 empty] | toilet assumption | 41% | Toilet
Dishwasher* | 1 |  |  |  | 4 | visits per working day | 2% | Once-thought cooling
Food | 5 |  |  |  | 5 | litter per flush | 60 | litres per person per day
Drinking water | 2 |  |  |  | 20 | litter for toilet
Cleaning |  |  |  |  | 8.75 | drinking water needed
Rooms** | 10
Textile*** | 12.5
TOTAAL | 167.5
* Assumption: 3L per wash cycle (90-120 sec), gem. derivative of 3 persons per cycle
** Assumption: one bucket at 20L per room, gem. 2 pers. per room
*** Assumption: 50L per wash, 4x bedding per wash

## Systems
Systems
Totals l/day | Residential | Office | Hotel
Input needed
Drinking water | 16222.5 | 1968.75 | 6150
Greywater | 10800 | 4500 | 2225
Output available
Greywater | 19440 | 1968.75 | 6775
Black water | 7582.5 | 4500 | 1600
Water per platform | Residential | Office | Hotel
Drinking water | 2027.8125 | 984.375 | 6150
System cost | 19750 | 19750 | 19750
Storage cost + rainwater filter | 3000 | 3000 | 3000
Greywater | 1350 | 2250 | 2225
| 2430 | 984.375 | 6775
Black water | 947.8125 | 2250 | 1600
IBA system + pump | 15000 | 15000 | 15000
Total | 37750 | 37750 | 37750
Background calculation
Water purifier | 2.000-2.750 l/h | 2375 |  | 19750
Rainwater reservoir | 10m3 |  |  | 1500
Self-cleaning filter and pump |  |  |  | 1500
Drinking water purification | costs € | capacity |  | energy | operating costs | replacement | extra | Maintenance
technician required every 3 moths for cleaning on site (about 2 hours)
perfector E | 30000 | 2000 | l/hour | 220V / 3,1 kw | 1450/year | 750 | 0,69 €/m3 | Membrane needs to be replaced every 3 - 5 years
Water Purifier 2500UV | 9500 | 2750 | l/hour | 3 kW |  |  |  | http://www.pwntechnologies.nl/resources/factsheets/pdf/Perfector-E%20-%20Emergency%20water%20unit.pdf
Size, the system is about the size of a soda machine (1mx1mx2, 2m);
Grey water purification | [7 empty] | http://waterforeveryone.nl/waterpurifier/waterpurifier-2500uv
helofyten | 3m2 pp | 1 meter zand, 10 cm grind, 1,3 m diep | [5 empty] | 3 kW generator for energy. The unit runs on gasoline.
Black water purification | [7 empty] | http://waterforeveryone.nl/waterpurifier/waterpurifier-500uv-ac
Securing Safe Water Supplies: Comparison of Applicable Technologies By Erik Voigt, Henry Jaeger, Dietrich Knorr

## Rainwater collection Residentia
Rainwater collection
Residential
WATER DEMAND | Low |  | CALCULATION TABLE
LOCATION (choose) | Honduras |  | start volume (L) | 0
|  |  | platform surface (m2) | 2250 | *
|  |  | outflow coefficient | 0.9
= drop down |  |  | filter yield | 0.9
|  |  | # people | 30
|  |  | usage (L/p/month) | 3603 | **
* Value is found at the 'Real Estate' sheet |  |  | reuse factor | 1
** Depends on WATER DEMAND |  |  | max volume (L) | 450000
*** Depends on LOCATION
Month | Volume before (L) | Precipitation*** (mm) | Platform surface (m2) | Water collected (L) | Total usage | Volume after (L) | Volume after (corr.) (L) | Max volume (corr.) (L)
January | 0 | 1 | 2250 | 1822.5 | 108090 | -106267.5 | 0 | 0
February | 0 | 2 | 2250 | 3645 | 108090 | -104445 | 0 | 0
March | 0 | 9 | 2250 | 16402.5 | 108090 | -91687.5 | 0 | 0
April | 0 | 34 | 2250 | 61965 | 108090 | -46125 | 0 | 0
May | 0 | 276 | 2250 | 503010 | 108090 | 394920 | 394920 | 394920
June | 394920 | 332 | 2250 | 605070 | 108090 | 891900 | 891900 | 450000
July | 450000 | 179 | 2250 | 326227.5 | 108090 | 668137.5 | 668137.5 | 450000
August | 450000 | 234 | 2250 | 426465 | 108090 | 768375 | 768375 | 450000
September | 450000 | 412 | 2250 | 750870 | 108090 | 1092780 | 1092780 | 450000
October | 450000 | 306 | 2250 | 557685 | 108090 | 899595 | 899595 | 450000
November | 450000 | 59 | 2250 | 107527.5 | 108090 | 449437.5 | 449437.5 | 449437.5
December | 449437.5 | 11 | 2250 | 20047.5 | 108090 | 361395 | 361395 | 361395
January | 361395 | 1 | 2250 | 1822.5 | 108090 | 255127.5 | 255127.5 | 255127.5
February | 255127.5 | 2 | 2250 | 3645 | 108090 | 150682.5 | 150682.5 | 150682.5
March | 150682.5 | 9 | 2250 | 16402.5 | 108090 | 58995 | 58995 | 58995
April | 58995 | 34 | 2250 | 61965 | 108090 | 12870 | 12870 | 12870
May | 12870 | 276 | 2250 | 503010 | 108090 | 407790 | 407790 | 407790
June | 407790 | 332 | 2250 | 605070 | 108090 | 904770 | 904770 | 450000
July | 450000 | 179 | 2250 | 326227.5 | 108090 | 668137.5 | 668137.5 | 450000
August | 450000 | 234 | 2250 | 426465 | 108090 | 768375 | 768375 | 450000
September | 450000 | 412 | 2250 | 750870 | 108090 | 1092780 | 1092780 | 450000
October | 450000 | 306 | 2250 | 557685 | 108090 | 899595 | 899595 | 450000
November | 450000 | 59 | 2250 | 107527.5 | 108090 | 449437.5 | 449437.5 | 449437.5
December | 449437.5 | 11 | 2250 | 20047.5 | 108090 | 361395 | 361395 | 361395
January | 361395 | 1 | 2250 | 1822.5 | 108090 | 255127.5 | 255127.5 | 255127.5
February | 255127.5 | 2 | 2250 | 3645 | 108090 | 150682.5 | 150682.5 | 150682.5
March | 150682.5 | 9 | 2250 | 16402.5 | 108090 | 58995 | 58995 | 58995
April | 58995 | 34 | 2250 | 61965 | 108090 | 12870 | 12870 | 12870
May | 12870 | 276 | 2250 | 503010 | 108090 | 407790 | 407790 | 407790
June | 407790 | 332 | 2250 | 605070 | 108090 | 904770 | 904770 | 450000
July | 450000 | 179 | 2250 | 326227.5 | 108090 | 668137.5 | 668137.5 | 450000
August | 450000 | 234 | 2250 | 426465 | 108090 | 768375 | 768375 | 450000
September | 450000 | 412 | 2250 | 750870 | 108090 | 1092780 | 1092780 | 450000
October | 450000 | 306 | 2250 | 557685 | 108090 | 899595 | 899595 | 450000
November | 450000 | 59 | 2250 | 107527.5 | 108090 | 449437.5 | 449437.5 | 449437.5
December | 449437.5 | 11 | 2250 | 20047.5 | 108090 | 361395 | 361395 | 361395
January | 361395 | 1 | 2250 | 1822.5 | 108090 | 255127.5 | 255127.5 | 255127.5
February | 255127.5 | 2 | 2250 | 3645 | 108090 | 150682.5 | 150682.5 | 150682.5
March | 150682.5 | 9 | 2250 | 16402.5 | 108090 | 58995 | 58995 | 58995
April | 58995 | 34 | 2250 | 61965 | 108090 | 12870 | 12870 | 12870
May | 12870 | 276 | 2250 | 503010 | 108090 | 407790 | 407790 | 407790
June | 407790 | 332 | 2250 | 605070 | 108090 | 904770 | 904770 | 450000
July | 450000 | 179 | 2250 | 326227.5 | 108090 | 668137.5 | 668137.5 | 450000
August | 450000 | 234 | 2250 | 426465 | 108090 | 768375 | 768375 | 450000
September | 450000 | 412 | 2250 | 750870 | 108090 | 1092780 | 1092780 | 450000
October | 450000 | 306 | 2250 | 557685 | 108090 | 899595 | 899595 | 450000
November | 450000 | 59 | 2250 | 107527.5 | 108090 | 449437.5 | 449437.5 | 449437.5
December | 449437.5 | 11 | 2250 | 20047.5 | 108090 | 361395 | 361395 | 361395
3380737.5

## Rainwater collection Office
Rainwater collection
Office
WATER DEMAND | Low |  | CALCULATION TABLE
LOCATION (choose) | Honduras |  | start volume (L) | 0
|  |  | platform surface (m2) | 2250 | *
|  |  | outflow coefficient | 0.9
= drop down |  |  | filter yield | 0.9
|  |  | # people | 30
|  |  | usage (L/p/month) | 862.5 | **
* Value is found at the 'Real Estate' sheet |  |  | reuse factor | 1
** Depends on WATER DEMAND |  |  | max volume (L) | 150000
*** Depends on LOCATION
Month | Volume before (L) | Precipitation*** (mm) | Roof surface (m2) | Outflow coefficient | Filter yield | Water collected (L) | Total usage | Volume after (L) | Volume after (corr.) (L) | Max volume (corr.) (L)
January | 0 | 1 | 2250 | 0.9 | 0.9 | 1822.5 | 25875 | -24052.5 | 0 | 0
February | 0 | 2 | 2250 | 0.9 | 0.9 | 3645 | 25875 | -22230 | 0 | 0
March | 0 | 9 | 2250 | 0.9 | 0.9 | 16402.5 | 25875 | -9472.5 | 0 | 0
April | 0 | 34 | 2250 | 0.9 | 0.9 | 61965 | 25875 | 36090 | 36090 | 36090
May | 36090 | 276 | 2250 | 0.9 | 0.9 | 503010 | 25875 | 513225 | 513225 | 150000
June | 150000 | 332 | 2250 | 0.9 | 0.9 | 605070 | 25875 | 729195 | 729195 | 150000
July | 150000 | 179 | 2250 | 0.9 | 0.9 | 326227.5 | 25875 | 450352.5 | 450352.5 | 150000
August | 150000 | 234 | 2250 | 0.9 | 0.9 | 426465 | 25875 | 550590 | 550590 | 150000
September | 150000 | 412 | 2250 | 0.9 | 0.9 | 750870 | 25875 | 874995 | 874995 | 150000
October | 150000 | 306 | 2250 | 0.9 | 0.9 | 557685 | 25875 | 681810 | 681810 | 150000
November | 150000 | 59 | 2250 | 0.9 | 0.9 | 107527.5 | 25875 | 231652.5 | 231652.5 | 150000
December | 150000 | 11 | 2250 | 0.9 | 0.9 | 20047.5 | 25875 | 144172.5 | 144172.5 | 144172.5
January | 144172.5 | 1 | 2250 | 0.9 | 0.9 | 1822.5 | 25875 | 120120 | 120120 | 120120
February | 120120 | 2 | 2250 | 0.9 | 0.9 | 3645 | 25875 | 97890 | 97890 | 97890
March | 97890 | 9 | 2250 | 0.9 | 0.9 | 16402.5 | 25875 | 88417.5 | 88417.5 | 88417.5
April | 88417.5 | 34 | 2250 | 0.9 | 0.9 | 61965 | 25875 | 124507.5 | 124507.5 | 124507.5
May | 124507.5 | 276 | 2250 | 0.9 | 0.9 | 503010 | 25875 | 601642.5 | 601642.5 | 150000
June | 150000 | 332 | 2250 | 0.9 | 0.9 | 605070 | 25875 | 729195 | 729195 | 150000
July | 150000 | 179 | 2250 | 0.9 | 0.9 | 326227.5 | 25875 | 450352.5 | 450352.5 | 150000
August | 150000 | 234 | 2250 | 0.9 | 0.9 | 426465 | 25875 | 550590 | 550590 | 150000
September | 150000 | 412 | 2250 | 0.9 | 0.9 | 750870 | 25875 | 874995 | 874995 | 150000
October | 150000 | 306 | 2250 | 0.9 | 0.9 | 557685 | 25875 | 681810 | 681810 | 150000
November | 150000 | 59 | 2250 | 0.9 | 0.9 | 107527.5 | 25875 | 231652.5 | 231652.5 | 150000
December | 150000 | 11 | 2250 | 0.9 | 0.9 | 20047.5 | 25875 | 144172.5 | 144172.5 | 144172.5
January | 144172.5 | 1 | 2250 | 0.9 | 0.9 | 1822.5 | 25875 | 120120 | 120120 | 120120
February | 120120 | 2 | 2250 | 0.9 | 0.9 | 3645 | 25875 | 97890 | 97890 | 97890
March | 97890 | 9 | 2250 | 0.9 | 0.9 | 16402.5 | 25875 | 88417.5 | 88417.5 | 88417.5
April | 88417.5 | 34 | 2250 | 0.9 | 0.9 | 61965 | 25875 | 124507.5 | 124507.5 | 124507.5
May | 124507.5 | 276 | 2250 | 0.9 | 0.9 | 503010 | 25875 | 601642.5 | 601642.5 | 150000
June | 150000 | 332 | 2250 | 0.9 | 0.9 | 605070 | 25875 | 729195 | 729195 | 150000
July | 150000 | 179 | 2250 | 0.9 | 0.9 | 326227.5 | 25875 | 450352.5 | 450352.5 | 150000
August | 150000 | 234 | 2250 | 0.9 | 0.9 | 426465 | 25875 | 550590 | 550590 | 150000
September | 150000 | 412 | 2250 | 0.9 | 0.9 | 750870 | 25875 | 874995 | 874995 | 150000
October | 150000 | 306 | 2250 | 0.9 | 0.9 | 557685 | 25875 | 681810 | 681810 | 150000
November | 150000 | 59 | 2250 | 0.9 | 0.9 | 107527.5 | 25875 | 231652.5 | 231652.5 | 150000
December | 150000 | 11 | 2250 | 0.9 | 0.9 | 20047.5 | 25875 | 144172.5 | 144172.5 | 144172.5
January | 144172.5 | 1 | 2250 | 0.9 | 0.9 | 1822.5 | 25875 | 120120 | 120120 | 120120
February | 120120 | 2 | 2250 | 0.9 | 0.9 | 3645 | 25875 | 97890 | 97890 | 97890
March | 97890 | 9 | 2250 | 0.9 | 0.9 | 16402.5 | 25875 | 88417.5 | 88417.5 | 88417.5
April | 88417.5 | 34 | 2250 | 0.9 | 0.9 | 61965 | 25875 | 124507.5 | 124507.5 | 124507.5
May | 124507.5 | 276 | 2250 | 0.9 | 0.9 | 503010 | 25875 | 601642.5 | 601642.5 | 150000
June | 150000 | 332 | 2250 | 0.9 | 0.9 | 605070 | 25875 | 729195 | 729195 | 150000
July | 150000 | 179 | 2250 | 0.9 | 0.9 | 326227.5 | 25875 | 450352.5 | 450352.5 | 150000
August | 150000 | 234 | 2250 | 0.9 | 0.9 | 426465 | 25875 | 550590 | 550590 | 150000
September | 150000 | 412 | 2250 | 0.9 | 0.9 | 750870 | 25875 | 874995 | 874995 | 150000
October | 150000 | 306 | 2250 | 0.9 | 0.9 | 557685 | 25875 | 681810 | 681810 | 150000
November | 150000 | 59 | 2250 | 0.9 | 0.9 | 107527.5 | 25875 | 231652.5 | 231652.5 | 150000
December | 150000 | 11 | 2250 | 0.9 | 0.9 | 20047.5 | 25875 | 144172.5 | 144172.5 | 144172.5
3380737.5

## Rainwater collection Hotel
Rainwater collection
Hotel
WATER DEMAND | Low |  | CALCULATION TABLE
LOCATION (choose) | Honduras |  | start volume (L) | 0
|  |  | platform surface (m2) | 2250 | *
|  |  | outflow coefficient | 0.9
= drop down |  |  | filter yield | 0.9
|  |  | # people | 50
|  |  | usage (L/p/month) | 5025 | **
* Value is found at the 'Real Estate' sheet |  |  | reuse factor | 1
** Depends on WATER DEMAND |  |  | max volume (L) | 10000000
*** Depends on LOCATION
Month | Volume before (L) | Precipitation*** (mm) | Roof surface (m2) | Outflow coefficient | Filter yield | Water collected (L) | # people | Usage (L/p/month) | Reuse factor | Total usage | Volume after (L) | Volume after (corr.) (L) | Max volume (corr.) (L)
January | 0 | 1 | 2250 | 0.9 | 0.9 | 1822.5 | 50 | 5025 | 1 | 251250 | -249427.5 | 0 | 0
February | 0 | 2 | 2250 | 0.9 | 0.9 | 3645 | 50 | 5025 | 1 | 251250 | -247605 | 0 | 0
March | 0 | 9 | 2250 | 0.9 | 0.9 | 16402.5 | 50 | 5025 | 1 | 251250 | -234847.5 | 0 | 0
April | 0 | 34 | 2250 | 0.9 | 0.9 | 61965 | 50 | 5025 | 1 | 251250 | -189285 | 0 | 0
May | 0 | 276 | 2250 | 0.9 | 0.9 | 503010 | 50 | 5025 | 1 | 251250 | 251760 | 251760 | 251760
June | 251760 | 332 | 2250 | 0.9 | 0.9 | 605070 | 50 | 5025 | 1 | 251250 | 605580 | 605580 | 605580
July | 605580 | 179 | 2250 | 0.9 | 0.9 | 326227.5 | 50 | 5025 | 1 | 251250 | 680557.5 | 680557.5 | 680557.5
August | 680557.5 | 234 | 2250 | 0.9 | 0.9 | 426465 | 50 | 5025 | 1 | 251250 | 855772.5 | 855772.5 | 855772.5
September | 855772.5 | 412 | 2250 | 0.9 | 0.9 | 750870 | 50 | 5025 | 1 | 251250 | 1355392.5 | 1355392.5 | 1355392.5
October | 1355392.5 | 306 | 2250 | 0.9 | 0.9 | 557685 | 50 | 5025 | 1 | 251250 | 1661827.5 | 1661827.5 | 1661827.5
November | 1661827.5 | 59 | 2250 | 0.9 | 0.9 | 107527.5 | 50 | 5025 | 1 | 251250 | 1518105 | 1518105 | 1518105
December | 1518105 | 11 | 2250 | 0.9 | 0.9 | 20047.5 | 50 | 5025 | 1 | 251250 | 1286902.5 | 1286902.5 | 1286902.5
January | 1286902.5 | 1 | 2250 | 0.9 | 0.9 | 1822.5 | 50 | 5025 | 1 | 251250 | 1037475 | 1037475 | 1037475
February | 1037475 | 2 | 2250 | 0.9 | 0.9 | 3645 | 50 | 5025 | 1 | 251250 | 789870 | 789870 | 789870
March | 789870 | 9 | 2250 | 0.9 | 0.9 | 16402.5 | 50 | 5025 | 1 | 251250 | 555022.5 | 555022.5 | 555022.5
April | 555022.5 | 34 | 2250 | 0.9 | 0.9 | 61965 | 50 | 5025 | 1 | 251250 | 365737.5 | 365737.5 | 365737.5
May | 365737.5 | 276 | 2250 | 0.9 | 0.9 | 503010 | 50 | 5025 | 1 | 251250 | 617497.5 | 617497.5 | 617497.5
June | 617497.5 | 332 | 2250 | 0.9 | 0.9 | 605070 | 50 | 5025 | 1 | 251250 | 971317.5 | 971317.5 | 971317.5
July | 971317.5 | 179 | 2250 | 0.9 | 0.9 | 326227.5 | 50 | 5025 | 1 | 251250 | 1046295 | 1046295 | 1046295
August | 1046295 | 234 | 2250 | 0.9 | 0.9 | 426465 | 50 | 5025 | 1 | 251250 | 1221510 | 1221510 | 1221510
September | 1221510 | 412 | 2250 | 0.9 | 0.9 | 750870 | 50 | 5025 | 1 | 251250 | 1721130 | 1721130 | 1721130
October | 1721130 | 306 | 2250 | 0.9 | 0.9 | 557685 | 50 | 5025 | 1 | 251250 | 2027565 | 2027565 | 2027565
November | 2027565 | 59 | 2250 | 0.9 | 0.9 | 107527.5 | 50 | 5025 | 1 | 251250 | 1883842.5 | 1883842.5 | 1883842.5
December | 1883842.5 | 11 | 2250 | 0.9 | 0.9 | 20047.5 | 50 | 5025 | 1 | 251250 | 1652640 | 1652640 | 1652640
January | 1652640 | 1 | 2250 | 0.9 | 0.9 | 1822.5 | 50 | 5025 | 1 | 251250 | 1403212.5 | 1403212.5 | 1403212.5
February | 1403212.5 | 2 | 2250 | 0.9 | 0.9 | 3645 | 50 | 5025 | 1 | 251250 | 1155607.5 | 1155607.5 | 1155607.5
March | 1155607.5 | 9 | 2250 | 0.9 | 0.9 | 16402.5 | 50 | 5025 | 1 | 251250 | 920760 | 920760 | 920760
April | 920760 | 34 | 2250 | 0.9 | 0.9 | 61965 | 50 | 5025 | 1 | 251250 | 731475 | 731475 | 731475
May | 731475 | 276 | 2250 | 0.9 | 0.9 | 503010 | 50 | 5025 | 1 | 251250 | 983235 | 983235 | 983235
June | 983235 | 332 | 2250 | 0.9 | 0.9 | 605070 | 50 | 5025 | 1 | 251250 | 1337055 | 1337055 | 1337055
July | 1337055 | 179 | 2250 | 0.9 | 0.9 | 326227.5 | 50 | 5025 | 1 | 251250 | 1412032.5 | 1412032.5 | 1412032.5
August | 1412032.5 | 234 | 2250 | 0.9 | 0.9 | 426465 | 50 | 5025 | 1 | 251250 | 1587247.5 | 1587247.5 | 1587247.5
September | 1587247.5 | 412 | 2250 | 0.9 | 0.9 | 750870 | 50 | 5025 | 1 | 251250 | 2086867.5 | 2086867.5 | 2086867.5
October | 2086867.5 | 306 | 2250 | 0.9 | 0.9 | 557685 | 50 | 5025 | 1 | 251250 | 2393302.5 | 2393302.5 | 2393302.5
November | 2393302.5 | 59 | 2250 | 0.9 | 0.9 | 107527.5 | 50 | 5025 | 1 | 251250 | 2249580 | 2249580 | 2249580
December | 2249580 | 11 | 2250 | 0.9 | 0.9 | 20047.5 | 50 | 5025 | 1 | 251250 | 2018377.5 | 2018377.5 | 2018377.5
January | 2018377.5 | 1 | 2250 | 0.9 | 0.9 | 1822.5 | 50 | 5025 | 1 | 251250 | 1768950 | 1768950 | 1768950
February | 1768950 | 2 | 2250 | 0.9 | 0.9 | 3645 | 50 | 5025 | 1 | 251250 | 1521345 | 1521345 | 1521345
March | 1521345 | 9 | 2250 | 0.9 | 0.9 | 16402.5 | 50 | 5025 | 1 | 251250 | 1286497.5 | 1286497.5 | 1286497.5
April | 1286497.5 | 34 | 2250 | 0.9 | 0.9 | 61965 | 50 | 5025 | 1 | 251250 | 1097212.5 | 1097212.5 | 1097212.5
May | 1097212.5 | 276 | 2250 | 0.9 | 0.9 | 503010 | 50 | 5025 | 1 | 251250 | 1348972.5 | 1348972.5 | 1348972.5
June | 1348972.5 | 332 | 2250 | 0.9 | 0.9 | 605070 | 50 | 5025 | 1 | 251250 | 1702792.5 | 1702792.5 | 1702792.5
July | 1702792.5 | 179 | 2250 | 0.9 | 0.9 | 326227.5 | 50 | 5025 | 1 | 251250 | 1777770 | 1777770 | 1777770
August | 1777770 | 234 | 2250 | 0.9 | 0.9 | 426465 | 50 | 5025 | 1 | 251250 | 1952985 | 1952985 | 1952985
September | 1952985 | 412 | 2250 | 0.9 | 0.9 | 750870 | 50 | 5025 | 1 | 251250 | 2452605 | 2452605 | 2452605
October | 2452605 | 306 | 2250 | 0.9 | 0.9 | 557685 | 50 | 5025 | 1 | 251250 | 2759040 | 2759040 | 2759040
November | 2759040 | 59 | 2250 | 0.9 | 0.9 | 107527.5 | 50 | 5025 | 1 | 251250 | 2615317.5 | 2615317.5 | 2615317.5
December | 2615317.5 | 11 | 2250 | 0.9 | 0.9 | 20047.5 | 50 | 5025 | 1 | 251250 | 2384115 | 2384115 | 2384115
3380737.5

## Hidden input
Function | Usage | Daily | Monthly |  |  | U.S. Family size |  |  | 2009 |  | Estimated people per hotel room |  |  | 1.5
Domestic | Low | 120.1 | 3603 |  |  | 1 |  | 31300000
Domestic | High | 232 | 6960 |  |  | 2 |  | 35800000
Office | Low | 28.75 | 862.5 |  |  | 3 |  | 18100000
Office | High | 48 | 1440 |  |  | 4 |  | 15700000
Hotel | Low | 167.5 | 5025 |  |  | 5 |  | 12700000
Hotel | High | 350 | 10500 |  |  | Average family size |  | 2.4956
Precipitation | Jan | Feb | Mar | Apr | May | June | July | Aug | Sep | Oct | Nov | Dec
Colombia | 8 | 2 | 6 | 34 | 102 | 110 | 98 | 130 | 140 | 218 | 129 | 35 | [1]
Honduras | 1 | 2 | 9 | 34 | 276 | 332 | 179 | 234 | 412 | 306 | 59 | 11 | [1]
Sources:
[1] Dr. T. Mitchell, CRU CL 2.0 data-set, Tyndall Centre for Climate Change Research